Cork County Council

Local Authority Prevention Network Programme

`

# Action at Work

# Midleton Town Council

# &

# Midleton Area Office

# TABLE OF CONTENTS

- INTRODUCTION								3

- COLLECTION OF BASELINE DATA (Phase 1)				3

- ACTION PLANS (Phase 2) 							12

- AWARENESS CAMPAIGN (Phase 2)						17

  - INTRODUCTION

The Local Authority Prevention Network (LAPN) was developed by the Environmental Protection Agency as part of the National Waste Prevention Programme. This initiative is providing financial and technical support to Local Authorities to tackle the challenge of waste prevention in partnership with businesses, public organisations and communities in their area.

Cork County Council, in partnership with South & East Cork Area Development, was successful in receiving grant aid to develop and implement a programme to encourage businesses and public organisations to reduce their consumption of materials, water and energy. This will be achieved through education and awareness programmes and the promotion of environmentally sound practices in waste, energy and water.

Our project places a Waste Prevention Officer in East Cork, who will be working with Dr Mary Stack, Senior Executive Scientist, who is the LAPN project coordinator.

Phase 1 of the Programme ran from 01 October 2009 to December 31st 2009, which focused on public buildings within the East Cork Area, including Midleton Town Council and the Midleton Area Office. The first step was to obtain support from Management, including the Director of Service, Ms Patricia Power, the Town Clerk, Mr Joe McCarthy and the Area Engineer, Mr Michael Savage.

An office co-ordinator was assigned in consultation with Management.

| Office | Action at Work Co-Ordinator |
| --- | --- |
| Midleton Town Council | Catherine McCarthy |
| Midleton Area Office | Martha Leahy |

Table 1.1

  - COLLECTION OF BASELINE DATA (Phase 1)

Before a Waste Action Plan could be produced, it was necessary to understand the current waste situation at Midleton Lodge. The following methods were used to gather baseline data:

    - Inspection of invoices for paper usage, toner/cartridge usage

    - Collection of energy bills

    - Waste Audit

    - Energy Audit

    - Water Usage Audit

    - MIMS Water Meter Readings for 2008/2009

    - Monthly water meter readings

    - Monthly electricity meter readings

      - Procurement Details

        - Midleton Area Office (First Floor)

Invoices for paper and toner procurement were inspected on 20 October 2009. There are 8 no. office based staff members. The following is a summary of the paper and cartridge usage.

| Item | Quantity | Period | KPI /person/year |
| --- | --- | --- | --- |
| A4 Paper (RM) | 120 | 10/2008 - 09/2009 | 15 reams |
| Ink/Toner Cartridges | 68 | 10/2008 - 09/2009 | 8.5 cartridges |
| Disposable Batteries | 145 | 02/2009 – 09/2009 | - |

Table 2.1

Figure 2. 1

Figure 2. 2

        - Midleton Town Council (Ground Floor)

Baseline data was collected from Midleton Town Council on 20 October 2009. There are 7 no. office based members of staff. The following is a summary to the paper and cartridge usage.

| Item | Quantity | Period | KPI /person/year |
| --- | --- | --- | --- |
| A4 Paper (RM) | 53 | 01/2009 – 10/2009 |  |
| Ink/Toner Cartridges | 14 | January 2009 |  |

Table 2.2

Figure 2. 3

      - Waste Audit (Midleton Town Council & Midleton Area Office)

The waste audit was conducted on 11 November 2009. The purpose of the waste audit was to build a picture of the different types, and amount of waste produced by Midleton Town Council and the Midleton Area Office. The waste was collected from both offices and stored for one week. Each bag of waste was sorted and weighed. The waste audit was carried out by the LAPN Waste Prevention Officer and a Clerical Officer. A breakdown of the components of one weeks waste can be seen in Figure 2.4 and Figure 2.5 below. The following observations were made:

- 28 Kgs of waste is generated each week by Midleton Town Council and Area Office

- This means each person contributes up to 2kg of waste per week (14 staff members in the office during week of the audit)

- The bulk of this waste, at 42%, is paper, which includes office paper, newspaper, magazines, and tissues.

- The recycling rate for Midleton Lodge is 0% excluding confidential paper.

- The composition of the remaining waste is Organic (32%), Cardboard (11%), Plastic(9%) and metal (3%).

- All bags presented contained mixed waste

- The is no separation of different waste types

- All waste (residual and recyclable) is sent for disposal

- One waste bin is provided at each desk for all waste types

- Liner bags at desk bins are replaced very often instead of empting the bag

- There is no recycle bins available in the building

- There is one confidential paper bin in the Midleton Area Office. This paper is collected by RehabRecycle, shredded and recycled. This weight of this waste could not be weighed on the date of the audit.

- Plastic cups are used for water

Figure 2. 4

Figure 2. 5

Office paper accounts for the largest share of the paper waste, at 73%. This is paper from printers, photocopiers, correspondences and filing. This paper is readily recyclable; however, no paper waste is currently being recycled. A third of the waste consists of organic waste, with 8.9 Kg of food waste being generated in one week. Again, all this food waste is going directly to landfill for disposal.

Plastic waste consists of plastic bags from bins, plastic cups from water dispensers and food/drink packaging.

      - Water Usage Audit

A Waste Usage Audit was carried out at Midleton Lodge, which includes Midleton Town Council and Midleton Area Office. A survey of all sanitary fittings was included in this audit. The following is a summary of all sanitary fittings.

| Office | L/M/ Canteen | Toilet | Sink | Urinal | Other | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| MTC | L | 1 | 1 | 0 |  | Twist taps |
| MTC | M | 1 Old toilet. Cistern is hidden | 1 | 2 |  | Automatic flush turned Off. Twist taps on sink |
| MTC | C | 0 | 1 | 0 | Ballygowen Water fountain |  |
| MAO | L | 1 | 1 |  |  | Twist taps |
| MAO | M | 1 | 1 |  |  | Twist taps |
| MAO | C | 0 | 1 | 0 | Water cooler Water boiler | Both cooler and boiler connected to mains. |

Table 2.3

All fittings were inspected and checked for leaks. The toilet in the ladies washroom may be leaking and should be further investigated and fixed if necessary. This action shall be included in the Action Plan.

There is one water meter serving Midleton Lodge, which meters both the water consumption of Midleton Town Council and the Midleton Area Office. Manual monthly meter readings have been taken since 01 October 2009 as can be seen in Figure 2.6. Sporadic meter readings are also recorded on the MIMS website, which monitors all non-domestic water meters in Cork County.

From 05/12/2008 to 03/12/2009, 104 cubic metres of water has been consumed at Midleton Lodge. This water use equates to 7.4m3/employee/year. This water usage is high compared with the benchmark of 4m3/employee/year for water use in offices. (ref:CIRIA WII(2006), Key Performance Indicators for Water Use in Offices)

Figure 2. 6

Monthly consumption figures were extrapolated from the periodic readings taken from the MIMS website. Water usage was averaged out between the reading periods to give a monthly consumption value. The monthly water consumption at Midleton Lodge is represented for 2008 and 2009 in Figure 2.7.

Figure 2. 7

From the manual readings taken from 01 October 2009 to 10 May 2010, the average consumption of water is 0.62cum/person/month.

      - Energy Audit

An energy audit was carried out on 21 October 2009 by the Cork County Energy Agency. A report was prepared which include low cost, medium cost and high cost recommendations to reduce energy consumption and associated costs. The audit concluded that there was good scope to significantly reduce energy use at Midleton Lodge at a minimal cost. A Display Energy Certificate was also prepared. See Appendix A for full report. Monthly meter readings have also be recorded from 02 November 2009. The Midleton Town Council and Midleton Area Office are metered separately and each has two ESB meters.

From the manual meter readings taken from 02 November 2009, Cork County Council Midleton Area Office and Midleton Town Council consume an average of 2162 KWh/month and 2056 KWh/month respectively. Therefore, the Key Performance Indicator based on the number of staff for each office is as follows:

| Office | *ESB KPI KWh/per/mth |
| --- | --- |
| Midleton Area Office | 270 |
| Midleton Town Council | 343 |

Table 2.4

Figure 2. 8

Figure 2. 9

Figure 2. 10

  - ACTION PLANS

The Action Plan for the management of waste, energy and water will provide a set of objectives and targets, and the steps to take to realise these.

The action plans will focus on reducing waste and conserving energy/water. The plan will follow a structured approach and follow the guide of Plan, Do, Check, Act and Review.

|  | Plan | Draw up action plans for waste, water and energy management |
| --- | --- | --- |
|  | Do | Implement the steps outlined in the action plans |
|  | Check | Monitor progress |
|  | Act | Implement measures to rectify any failures |
|  | Review | Review progress and report findings/results |

Implementation of the action plan shall be the responsibility of each office coordinator. The programme coordinator will be available for assistance in the implementation of the plans and regular meetings will be held to monitor progress.

- Waste Action Plan (Midleton Town Council & Midleton Area Office)

| Objective | Reduce waste consigned to landfill |
| --- | --- |

| PAPER ACTION | Introduce a dry recyclable collection service for paper & cardboard |
| --- | --- |
|  | Individual desk bins should be recyclable bins by default and labelled |
|  | A residual waste bin should be provided centrally and labelled |
|  | A recyclable bin should be provided in the canteen and labelled in Area Office and Town Council Office |
|  | Ensure all non-reusable cardboard boxes are recycled |
|  | Ensure all printers and photocopiers are set to print double-sided by default |
|  | Implement a policy outlining single-sided printing ONLY WHEN NECESSARY |
|  | Use any remaining single-sided printed paper as note paper |
|  | Discontinue the purchasing of Post-Its – use emails for communicating missed phone-calls and scrap paper and notebooks for notes. |
|  | Make use of the spell check function on PC’s before printing a document to minimise copies printed. |
|  | Reuse scrap paper for draft printing |
|  | Proof-read document before you print |
|  | Research, share and store information electronically |
|  | Put up signs at printers and photocopiers |
|  | Scan documents as standard and email if possible |
|  | Set up recycling bin for cardboard |
|  | Create a central place to store non confidential A4 waste paper for re use on other side and alert all members of staff to the requirement to place paper here and take it from this place for notes and trial copies etc |
|  | Maintain up to date information on the Action at Work notice board including: Circulars from the Environmental Awarness Unit Graphs showing energy, waste and paper usage Other relevant environmental information |

| PLASTIC ACTION | Discontinue purchase/useof plastic cups |
| --- | --- |
|  | Replace plastic cups with glasses or biodegradable cups |
|  | Reuse bin liners at individual desks. Do not dispose of bin liner every time the bin is emptied (only when necessary) |
|  | Introduce dry recyclable collection for plastics |
|  | Ensure all recyclable food containers are washed and recycled including Tetra Pak |

| FOOD WASTE ACTION | A separate food waste bin should be provided in the canteen and labelled |
| --- | --- |
|  | Avail of Brown Bill Collection Service if and when it becomes available in the area |
|  | Compost food waste on site using a on-site compost unit |

| HAZARDOUS WASTE ACTION | Discontinue purchase of disposable batteries as per Cork County Council policy since September 2007 |
| --- | --- |
|  | Make an inventory of all equipment requiring batteries Purchase a battery charger and suitable batteries Ensure that all staff are aware that it is now Council policy to use only rechargeable batteries. |
|  | Provide battery collection box in office |
|  | Ensure all ink and toner cartridges are collected for recycling. The following organisations accept some ink and toner cartridges for recycling (see website for list of acceptable cartridges). Obtain ink & toner cartridge recycling box from organisation below or Office Depot supply ink cartridge recycling bags also. www.ecoink.ie www.recyclingappeal.ie www.rehabrecycle.ie www.jackandjill.ie |

- Water Action Plan

| Objective | Reduce consumption of water |
| --- | --- |

| TARGET |  |
| --- | --- |
| ACTIONS | Insert hippo bags in toilet cisterns with a minimum capacity of 9 litres |
|  | Retrofit aerators to taps to reduce water use |
|  | Replace bottled water dispenser with water mains connected water dispenser |
|  | Take monthly meter readings to monitor water consumption |

- Energy Action Plan

| Action | Capital Cost € | Savings | Payback |
| --- | --- | --- | --- |
| Switch electricity supplier to Energia (MTC only) | None | 10% on electricity bill | n/a |
| Turn down room thermostat from 21.5ºC to 20ºC | None | 10% on heating bill | n/a |
| Change boiler time-clock to reflect occupancy hours and adjust according to comfort | None | 20% on current settings | n/a |
| Change boiler thermostat from 40ºC to 60ºC | None | Make boiler more efficient | n/a |
| Brush piles on door frame | None | Reduce heat loss through front door | n/a |
| Place (4) seven day timers on all under sink heaters* or alternatively plumb hot water to these sinks (preferred option) | €500* | €520* | 1 year* |
| Remove existing boiler thermostat from corridor and install wireless room thermostat in Town Clerks office | €320 | Not estimated | n/a |
| Replace old twin fluorescent lights with energy efficient T5 alternatives upon failure | €100/fitting | €4.40/fitting/year | n/a |
| Replace boiler thermostat with digital seven day timer for more accurate control (incorporate with item 7) |  | Not estimated | n/a |
| Block up open chimneys with chimney balloon | €30/chimney | Not estimated | n/a |
| Insulate the attic space with 300mm of cellulose | €3000 | Not estimated | n/a |
| Replace radiator valves with thermostatically controlled radiator valves | €2500 | Not estimated | n/a |
| Place motion sensor in toilets and boiler house |  | Not estimated |  |
| Place time clock on Burco boiler in MAO canteen |  | Not estimated |  |

  - AWARENESS CAMPAIGN (Phase 2)

The foundation for environmental improvement is the commitment and involvement of all staff that need to understand their role in preventing pollution. Raising awareness of the relevant environmental issues, the cost of waste and energy and the part everyone in the organisation has to play, is an essential first step for a successful Action at Work waste minimisation & energy/water conservation programme.

|  | Actions |
| --- | --- |
| 1 | Ensure that all staff members in each office are aware of the waste & energy/water policy changes and why they are being made. Use team meetings and emails to disseminate information. |
| 2 | Install an “Action at Work Notice Board”. The Board should contain the Action Plan and figures for the current waste/energy situation, displays and post new information when available. |
| 3 | Organise a poster campaign citing specific messages and reminders regarding energy and waste issues. Place posters at printers and photocopier |
| 4 | Organise training to be carried out in-house with help from the IT Department with regards to the photocopiers and printers. |
| 5 | Email updates on the Action Plan regularly. |
| 6 | Email tips on dealing with certain waste types, both in work and at home. |